User’s guide to processing of OBS raw data

# Preface

This manual was written during the ZAIANGO cruise in March/April 2000 and it describes the way, the data handling took place at this particular experiment. However, whenever possible, some general remarks are given, when there are different procedures available.  Additions made by Chris LeBlanc, 11 June 2004.

# Setup

Equipment used for the data processing include

Hardware

- IBM Think Pad 310 ED (Notebook) with external floppy drive

- SCSI card

- DAQ-Card -DIO-24 with driver/installation software

- External CD writer (Yamaha 4x)

- External DAT tape drive

- Connector cables

# Software

- FORTRAN compiler (no longer required)

- Mirror

- drea2sgy2000

- pc7up (version 1.36)

- doall (version 1.0 by Dave Heffler)

- Adaptec Easy CD Creator

- Adaptec tape backup

- Seiswide

## Download of OBS raw data files

The OBS has to be connected with the notebook. The serial port of the notebook has to be connected with the socket marked “SER” on the OBS. If the lunchbox PC is going to be used for downloading, the serial cable must be connected to “comm1” and will need an adapter to  convert from the serial connection on the back to a regular DB9 connector.

The DAQ Card of the notebook is connected to the port marked “DATA” on the OBS. For this connection a special adapter is necessary that connects the two cables. The following figure demonstrates how to connect to an OBS for downloading (both the pcmcia and isa cards are shown).

It is important to connect the cables in the proper orientation.  Pin number 1 is indicated in each figure, and these are labeled on the cables.  A small amount of disassembly is required to attach the downloading ribbon to the OBS, unscrewing the hard drive and front board (with the serial cable connector) will allow easy access to the connector.  The other end of this ribbon has a large 40 pin connector, which can connect directly to the National Instruments ISA card (pc-dio 24).  Alternatively, an adapter and a national instruments cable can be used to connect to a National Instruments pcmcia card (dio 24).

Before the download can start, some configuration is necessary with regard to the input/output port settings of the DAQ Card. The system will automatically assign these port numbers depending on the combination of PCMCIA cards that are installed in the notebook. These port settings are necessary as input for the program pc7up in order to establish proper communication. The necessary parameter can be found by clicking on Start > Settings > Control Panel > System > Device Manager > Data Acquisition Devices > DAQCard-DIO-24 > Properties > Resources

Than there will be a window saying Input/Output Range with a setting of e.g. 1400 – 141F. The first number, in this case 1400, is the number wanted for the input parameter of pc7up. This number will not change as long as one does not change any PCMCIA card.  Note: this dowloading setup works in windows 95/98/ME (real DOS), but does not work in windows NT/2000/XP (emulated DOS).

To start the download process one has to start the communication via the serial link using the program mirror. Open a DOS window and go to your working directory (c:\dobs for the IBM, and c:\util\mirror for the lunchbox). Start mirror by typing mirror, then press any key to continue, and choose profile 1 (DOBS). Note that you can only choose the DOBS profile if the configuration file dobs.xtk exists in your working directory. Press CR until you get the prompt TTZ>. If the Tattletale disk of the OBS is not on, you can activate it by typing dr + (After the download operation is finished you can turn the disk off by typing dr -). This may take more than one attempt. Other commands that are possible are: dir that will give a directory of the raw datafiles on the Tattletale. This will allow you to find out how many datafiles are written to the disk during the deployment (check the date of the files). The communication with the Tattletale can be captured by using the ESC key and typing in CA ON in the command line. After communication with the Tattletale is established you need to leave the mirror program with the F2 key. It is essential that you do not leave mirror with the normal quit command!

Note: it may take several tries to get a listing of files on the hard drive.  Starting up the OBS program by typing run, then exiting, and then typing dr + seems to work well.  If this fails to work, type dr - (wait a few seconds) followed by dr + and dir until dir lists the files.

The actual download of the data has to happen in the same DOS window you started mirror in. The program used for this is the (updated) version of pc7up. For easy use, Dave Heffler has written a program called doall that will help to download a set of files you can specify in the command line. The syntax is

doall batchfile first-datafile last-datafile

(e.g. doall obs13 0 237)

This will download all datafiles from datafile.000 to datafile.237

The batchfile is the name of a batch that actually calls the program pc7up. The batchfile (e.g. obs13.bat) contains the following two lines

pc7up –b 9600 –i 0x1400 datafile.%1

move datafile.%1 dat13

In the first line, only the –i option has to be adapted to the input/output range of the DAQ Card (see above). In the example above, the number was 1400 and that translates into –i 0x1400. A range of 1100 would require the option –i 0x1100. The second line moves the downloaded datafile into a subdirectory of the working directory, in the example to the directory dat13. Please note that you have to create this directory before the download process (mkdir name).

## Downloading with ISA card

Downloading the datafiles from the OBS with the old National Instruments ISA card is similar to the pcmcia card.  The card must be properly installed in a PC that has an ISA slot (ie: an older computer).  Interestingly no drivers are needed for the ISA card.  Hook up the serial cable and 40 pin connector as illustrated in the figure.  Downloading of the data must be performed from real DOS (dos included with 95/98/ME), not the NT/2000 version of DOS.

A DOS boot disk can be used for this step if the computer does not have DOS or win 95/98/ME installed.  A DOS boot disk can be made from a windows 95/98/ME machine.  Boot into DOS, and cd to the C drive (or any FAT partition).  Use the same procedure as before to get a listing of files on the OBS from mirror.  Exit to DOS, and run pc7up or doall to download the files.

# Backup of data

Once the data is downloaded, a backup of the data is necessary. During the ZAIANGO cruise, the data was saved to a CD immediately after downloading the data from the OBS. Later, the data of three to four OBS were saved to a DAT tape.

## Writing to CD

To write to the Yamaha CD recorder, the software Adaptec EASY CD Creator is used. Start the program (Start > Programs > Adaptec Easy CD Creator > CD Creator Deluxe). Cancel the welcome window. In the main window use the upper frame of the window “CD Layout” as your “Windows Explorer” and click trough to the directory in which you have saved the datafiles. Drag the icon of this directory in the lower frame where the CD symbol is. Please note that the maximum number of datafiles you can save on one CD is 300! Once the files are selected click to File > Create CD. Choose option Create CD and write speed 2x and start writing.

## Writing to 4mm DAT tape

To write to the DAT tape, the software Adaptec EZ-SCSI 5.0 is used. Start the program with Start > Programs > Adaptec EZ-SCSI 5.0 > Adaptec Backup. The first step is to format the tape. That can be done with the Format option in the Tools menu. Once the tape is formatted follow the instructions in the backup window.

# Creation of shot tables

NOTE: A new program called “pyShottab” has been created which is an easy to use GUI program for creating shottables.  It can be found on seismic.ocean.dal.ca.

This is probably the most difficult part of the entire process since there are many different options, depending on the status of the navigation data. The best case scenario is that the shot navigation specifies the actual position of the airgun shot and not of the GPS antenna of the ship. If only the position of the GPS antenna is given, additional processing is necessary. A program that can do (some of) this processing is shottab.for. This program needs to be adapted to the individual problem and the format the navigation and shot time data is given. Leave this to someone who is familiar with FORTRAN and with processing of navigation data. Once the program is adapted to the specific problem it can be compiled with the FORTRAN Power Station 4.0 or (as fast and simple) in a DOS window by typing fl32 shottab.for. The executable of the program will be named shottab.

The program shottab requires additional input information it will prompt you for. Alternatively (and recommended here), you can write this information in an input file. This has the advantage that you have saved the input to a file for later verification and that you can easily redo the process without retyping everything. You need to redirect the input file to the program shottab. This will be done with the < symbol. A call for the creation of the shottable would be eg.

shottab <obs13.inp  with the file obs13.inp containing the input information.

The format of the input contains unformatted lines with parameters separated by a comma.  Here is one example:

expa.nav

0

z13.sht

-7.762767,11.422800,12.0

90,15,9,0

93,1,11,0

2.4

290

0

90,19,45

93,0,11

The lines specify the following information:

Line 1: Name of the navigation file with the shot times

Line 2: Offset in meters between airguns and GPS antenna

Line 3: Name of the output file (=shot table)

Line 4: Latitude, longitude of OBS, reference longitude (should be within the study area and be a multiple of 3)

Line 5: Julian Day, hour, minute, and second of time when OBS clock was started (Julian day is the system that counts day from January 1 = day 1 to December 31 = day 365)

Line 6: Julian day, hour, minute, and second of time when OBS clock was checked for drift after the deployment.

Line 7: OBS clock drift in ms (+/- means OBS clock is fast/slow with respect to GPS clock)

Line 8: Delay of airgun shots in msec

Line 9: Offset between OBS and ship (GPS) clock in msec (+/- means that OBS is fast/slow with respect to ship

Line 10: Julian day, hour, and minute of start time for which shots should be extracted from the navigation file

Line 11: Julian day, hour, and minute of end time for which shots should be extracted from the navigation file

Preparation of raw datafiles (merging)

Before the next step (creation of SEGY files), the raw datafiles need to be merged into one file. This step may change in the future because a program written by Deping Chian (called dobs2sgy) can handle the original raw datafiles. However, dobs2sgy did not work properly on the data of the ZAIANGO experiment. The reason is unknown, possibly a Y2K problem. A BASIC program written by Bruce Mitchell does merge the raw datafiles into one file. However, this program needs to be modified for Y2K and could therefore not be used on the ZAIANGO data.

The method used here to merge the data is to copy files with DOS. The DOS command to copy the raw datafiles will be

copy /b datafile.000+datafile.001+….+datafile.237 merge.dat

The option /b is important, because the raw datafiles are in binary format. Since there are normally several hundreds of raw datafiles to merge one has to split the copy process into several steps (e.g. copying ten files into one, copy then of those files into one and so on). merge.dat is in this example the name of output file. It is recommended to write a batch job for the copy process that can be used for other stations.

# Creation of SEGY files

Note: there is a newer program for conversion of datafiles to SEGY called dobs2sgy2000. It is a straight forward windows GUI program.

The SEGY files are created with the program drea2sgy. The program has to be run four times, one time for each seismic channel. Channel 1 is the hydrophone, channel 2 the vertical geophone and channels 3 and 4 the horizontal geophones.

Start the program drea2sgy in a DOS window and answer the questions you are prompted for:

- Name of the input file (here merge.dat)

- Name of the shot table (here z13.sht)

- Name of the output file (e.g. C:\OBS13\z13-h.sgy)

- First and last shot to process (you can get these numbers from the shot table)

- Y (yes, you want to use the specified sampling rate)

- Enter time window (typically 0 to 60 sec)

- N (no, there is no reduction velocity)

- Number of channels to process (enter 1)

- Channel you want to process (enter either 1, 2, 3, or 4)

Save the SEGY files to CD / DAT tape using the methods described above.

## Quality control (plots)

To check for the quality of the SEGY files one can use the plotting package SEISWIDE (written by Deping Chian). This program is also helpful to determine bad traces that can destroy the data in the SEGY file. However, this problem of bad traces did not occur during the ZAIANGO experiment using the notebook with Windows 98. It seems possible, that the bug only occurs on systems running Windows NT. Bad traces can be found by dumping the SEGY headers in SEISWIDE and check for odd numbers (choose SEGY info in the menu View and click on Dump more trace info). These traces need to be deleted from the shot table and rerun drea2sgy.

To plot the data go to View and Time section by trace and load a SEGY-file by clicking on browse. Select the traces according to your shot tables and if you have more than ~500 traces you should specify an increment (step) of >1. For tmin and tmax you can choose e.g. 0 and 30 and 5 for ttick. I recommend to click on the wiggle and face up buttons. For the gains one need to test. If the plot is white, increase the gain, if it is black reduce the gain. If you have many traces you may want to reduce the clip as well.

## Conversion to standard IBM format

The SEGY format of the files created by drea2sgy is in VISTA format (ASCII encoded header and short integer formatted data). Many seismic processing software packages require standard IBM format instead (EBCIDC encoded header and IBM float point data). The program SEISWIDE offers the opportunity of SEGY conversion in the menu Processing. Alternatively, the file can be loaded to a workstation and be converted with the program nscu (GSC Atlantic). Globe Claritas can read VISTA format SEGY files without conversion.

Syntax is:

nscu ciodrn [input-file] [output-file] vai vef [number of traces]